## Slide 1: Implementation of Smoke Detection System Using Optical Smoke Sensor and MSP430FRxxxx
Krishiv .S. Rana

## Slide 2: Table of Content
Motivation & Problem Definition
Project Introduction
System Overview & Block Diagram
Optical Smoke Sensor – Features & Architecture
MSP430FRxxxx Microcontroller
I²C Protocol & Sensor Interfacing
UART, RS485 & Frame Layer Protocol
Algorithms Applied
Firmware & Software Design
Testing & Results
Conclusion

## Slide 3: Motivation & Problem Definition
Smoke Detection Importance & Solution
Smoke is the earliest sign of fire → enables early warning, saving lives and property
Industrial challenge: detect fine particles while avoiding false alarms (dust, steam)
Limitation: single-wavelength detectors cannot differentiate real smoke from noise
Solution: dual-wavelength optical method improves accuracy and reliability
Ensures faster response time and enhances overall fire safety systems

## Slide 4: Project Introduction
System Architecture & Communication
3-Layer Architecture: Sensor (optical dual-LED + ADC) → MSP430 MCU → Python host (live PTR graph)
Signal Flow: Smoke → Sensor → (I2C @100kHz) → MCU →(UART / RS485 @9600) → Python → Graph
Key Interfaces: I²C (addr 0x64), UART 9600 baud (8N1), RS485 half-duplex
Data Handling: 4-byte request, 21-byte response with CRC16 validation

## Slide 5: System Overview
Objective: Early and accurate smoke detection with low false alarms
Concept: Dual-wavelength optical sensing (Blue + IR) for particle discrimination
System Layers:
Sensing: Optical Smoke Sensor
Processing: MSP430FRxxxx MCU
Monitoring: Python-based host system
Key Functions: Detection → Signal Processing → Data Transmission → Visualization

## Slide 6: Block Diagram

## Slide 7: Optical Smoke Sensor – Features & Architecture

## Slide 9: MSP430FRxxxx Microcontroller

## Slide 10
I²C Protocol & Sensor Interfacing
I²C Bus Configuration
Two-wire communication: SDA (data) and SCL (clock)
Master (MCU) controls communication; sensor acts as slave (0x64)
Operates at 100 kHz (Standard Mode)
Uses START, STOP, and ACK signals for data transfer
Supports both read and write operations using register addressing

## Slide 12: UART & RS485
UART Configuration (8N1)
9600 baud, 8 data bits, no parity, 1 stop bit — eUSCI_A0 on MSP430FRxxxx
16× oversampling for accurate bit sampling and noise immunity
Interrupt-driven RX (UART ISR) + polling-based TX via DE/RE GPIO control
RS485 Physical Layer
Differential signaling — immune to common-mode noise in industrial environments
Half-duplex: MCU switches between TX and RX mode using DE and RE GPIO pins

## Slide 13: Algorithms Applied
Moving Average Filter
8-sample circular buffer in FRAM for both Blue and IR channels
Running sum updated each sample — avoids full re-computation each cycle
Reduces high-frequency noise without introducing significant lag
Baseline Calibration
On startup: 8 samples averaged to establish clean-air baseline PTR
+1 guard added to baseline prevents negative obscuration in clean air

## Slide 14
Adaptive Baseline Tracking
Exponential Moving Average (EMA) tracker updates baseline slowly over time
Prevents smoke events from corrupting the baseline reference
Obscuration Calculation
β = PTR / γ (γ = 0.64 for Blue 470 nm | γ = 0.24 for IR 850 nm)
Scaled ×100 and stored as 16-bit unsigned integer in frame — resolution of 0.01 %/ft

## Slide 15: Firmware & Software Design
Firmware Architecture – Foreground/Background Model
Foreground (ISR): UART RX interrupt receives 4-byte request frame, sets processing flag
Background (Main Loop): I²C sensor poll → signal processing → frame build → RS485 TX
Main Program Flow

## Slide 16: Testing & Results
Live PTR Graph During Smoke Detection Test
Terminal Frame Output During Smoke Event

## Slide 17: Conclusion
Low-power optical smoke detection using a dual-wavelength approach for accurate early fire detection.
Zero false alarms, ensuring reliable and dependable operation.
Efficient I²C communication for stable sensor interfacing.
Real-time processing and data transmission handled by the MSP430 microcontroller.
Efficient data transmission to PC through UART
Suitable for industrial and safety-critical applications.

## Slide 18: References
Texas Instruments, MSP430FR58xx, MSP430FR59xx, and MSP430FR6xx Family User’s
https://www.ti.com/lit/pdf/SLAU367
Analog Devices, Inc., AN-2033: Calibrating the Optical Smoke and Aerosol Detection Module, June 2021.
https://www.analog.com/en/resources/app-notes/an-2033.html
NXP Semiconductors, UM10204: I2C-Bus Specification and User Manual, Rev. 7.0, 1 October 2021.
https://www.nxp.com/docs/en/user-guide/UM10204.pdf

## Slide 19: Q&A